| Wendell Lee/DTIS/SFGOV 08/28/2008 02:04 PM | To Wendell Lee/DTIS/SFGOV, Henry Chin/DTIS/SFGOV@SFGOV, Herb Tong/DTIS/SFGOV@SFGOV, Jim Peterson/DHR/SFGOV@SFGOV, Shelley Thompson/DHR/SFGOV@SFGOV, Charles Thompson/DTIS/SFGOV@SFGOV cc Subject RE: eMerge status |
| --- | --- |

Status for the week

All the fiber cables necessary to connect the EMC CX3, IBM Bladecenter and the Brocade Directors were ran and patched.  SAN fabric, IBM fiber channel switches and Brocade directors configured. The SAN has been carved for the DTDU and Training environment as follow:

| Hostname | IP | Role | App | OS | DB |
| --- | --- | --- | --- | --- | --- |
| mrg01dtdu | 10.250.112.11 | WEB | 300GB R5 | 300GB R5 | n/a |
| mrg02dtdu | 10.250.112.12 | APPLICATION | 300GB R5 | 300GB R5 | n/a |
| mrg03dtdu | 10.250.112.13 | DATABASE | 300GB R5 | 300GB R5 | 2TB r10 |
| mrg04dtdu | 10.250.112.14 | REPORT/FILE SERVER | 300GB R5 | 300GB R5 | n/a |
| mrg01trn | 10.250.116.11 | WEB | 300GB R5 | 300GB R5 | n/a |
| mrg02trn | 10.250.116.12 | APPLICATION | 300GB R5 | 300GB R5 | n/a |
| mrg03trn | 10.250.116.13 | DATABASE/RAC1 | 300GB R5 | 300GB R5 | 2TB r10 |
| mrg04trn | 10.250.116.14 | DATABASE/RAC2 | 300GB R5 | 300GB R5 | n/a |
| mrg05trn | 10.250.116.15 | REPORT/FILE SERVER | 300GB R5 | 300GB R5 | n/a |

We have installed Windows 2003 to two blades and RedHat Linux 5.2 to one blade so far for testing purpose.   And they’re booting up from SAN.  We’ll continue this test for all the blades.

EMC is still on the hook to get the following done for us.  They’re working on it.

- Get PowerPath working for Linux platform

- Setup the “call home” feature via email

- Get SnapShot working

- Get Reporting working

- Update SAN and Director Documentation

- Verify the Zones for each blades

- Verify the LUNS for each blades (especially the Blades with Multi-LUN)  and        Document procedure .

- Disable notification for power issue. (one power source is not plugged in)

- Do performance tests and compare results with expected figures